## INSTRUCTIONS
Worksheet Instructions
Ref | Description
1 | The purpose of this the Data Capture Spreadsheet is to collect accurate and timely asset information. It is separated by RM, LVM, CAP and DISPOSE sheets. This will be then uploaded to the PFM's asset register for maintenance scheduling and asset replacement in the future. All spreadsheet headings can be found below.
2 | There are 4 tabs provided in this template 'RM Asset Data', 'LVM Asset Data NEW', 'CAP Asset Data NEW' and 'Asset Data DISPOSE'- note that asset information required for different tabs are not identical.
3 | Naming convention for all spreadsheets - when submitting this document the following naming convention should be used (Differentiated by works, i.e. RM, LVM, CAP)
The file name will be automatically generated when the Work Order Detail table has been completed. This should be copied and pasted to ensure the correct format is used NOTE - After copying, ensure it is 'pasted as text'.
4 | The following provides additional explanation for the headings used in all tabs:
4.1 | Ref# (RM/LVM/CAP/DIS)- This is a reference number for the worksheet table. It is required to provide a reference point between assets e.g. Parent/Child assets, if a new asset has replaced a disposed asset.
4.2 | DISPOSE Ref# (Asset Data DISPOSE tab) -This reference number will be used in either the 'LVM Asset Data NEW' or 'CAP Asset Data NEW' tab to help PFM understand if a new asset is a replacement for an existing asset or if it is a brand new installation.
4.3 | PFM asset barcode number - A new PFM Barcode must be affixed by the Vendor installing the asset. Barcodes are obtainable from the Asset Management Team (AMT) who work from the PFM Office in Burswood. To arrange collection Email AssetsWA@programmed.com.au or contact the PFM FAM. A Barcode guide (Barcoding Guide for Subcontractors) is available to provide additional information.
4.4
4.5 | DISPOSE Ref# (LVM Asset Data NEW or CAP Asset Data NEW tab) - This will be the Ref# used in the 'Asset Data DISPOSE' tab. It should identify the asset that has been replaced. If it is not replacing an asset enter 'N/A'.
4.6 | Area Served - needs to be captured when the asset is located in a different area to the area it serves e.g. Evaporative Coolers. Enter the largest area if the asset serves several areas e.g. AHU, Distribution Board
4.7 | Client Asset Number - provide this if a visible reference number has been attached to the asset. In many cases this is the best way to quickly identify an asset. Capturing a Client Asset Number does not remove the requirement to capture all other asset details.
4.8 | Asset Quantity - This applies to 'Grouped' Assets only and should identify the number of assets in a room.
4.9 | Capacity - this should be the total capacity, not design capacity, and should reflect the size of the asset.
4.1 | Capacity Unit of Measure - the units used for Capacity e.g. kW, l/s, A, m3/s etc.
4.11 | Condition Rating - 1 - New, less than 1 year old, 2 - Near new, 3 - Fair, 4 - Replace within 2-3yrs, 5 - Replace within 1 year
4.12 | Parent Ref# - a Parent/Child identification is required when there is a need to link components of a system. 'Parent' assets MUST be referenced against every 'Child' asset e.g. the 'Sheet Ref #' for the 'Parent' asset must be captured against each 'Child' asset. Examples of Parent/Child systems are:
If practicable, the PFM Barcode should be referenced when only the 'Child' asset is being installed e.g. if only the air drier is being replaced on a compressed air system, the barcode# for the air compressor should be entered as the Parent Ref#.
4.13 | Installation Date - DD/MM/YY - Date asset was installed on site.
4.14 | Commissioned Date: DD/MM/YY - Date the asset was likely brought into use
4.15 | Design Life: How many years is the design life of this asset?
4.16 | Useful Life: How long will the asset remain in usable condition? (Years)
4.17 | Warranty Start Date - if there are more than one type of warranty e.g. manufacturer and installation warranty, all should be captured. Any warranty documents must accompany the claim.
4.18 | Warranty Period - the period in months that the warranty covers.
4.19 | Defect Liability Start Date: The start date the contractor is legally required to return to site to repair any defects
4.2 | Defect Liability End Date: End date the contractor is legally required to return to site and repair any defects
4.21 | Supplier Name and Address: Asset supplier name and address.
4.22 | Manufacturer Name and Address: Name and address of the manufacturer.
4.23 | Purchase Price (AUD ex GST) - This should be the retail price of the asset and not the subcontractors discounted cost.
4.24 | Purchase Date: Date on which the asset was purchased.
4.25 | Recommended Maintenance Frequency: D/W/M/Y/Q [D=Daily; W=Weekly; M=Monthly; Y=Yearly; Q=Quartey; F=Fortnightly]
4.26 | Applicable statutory inspection/maintenance/safety requirements: Applicable statutory inspection/maintenance/safety/plant registration certificates supplied? (e.g. Australian Standards)
4.27 | Install Price (AUD ex GST) - this is the total cost to install the asset and will include asset cost, labour cost and enabling costs e.g. scaffolding and elevated work platform.
4.28 | Asset Image Reference Number - images MUST be provided capturing the full image of the asset, the manufacturing nameplate and PFM barcode. This applies to existing RM, new LVM & new CAP assets & all disposed assets. Images must clearly show relevant data and not become pixilated when enlarged.
4.29 | De-commission Reason - The reason the asset is being removed e.g. Asset Failed, Part of Upgrade.
4.3 | Additional Asset Detail - This is additional info that is unique to the asset type. The required information will be identified on the relevant PFM Job Plan e.g. Refrigerant Type & Volume.
4.31 | Comments - enter any additional comments that may be required.
5 | On completion of this document upload to Claims along with warranty details and images.
IMG-12345A.jpg
IMG-12345B.jpg

## RM Asset Data
ROUTINE MAINTENANCE ASSET DATA CAPTURE TEMPLATE
WO# Ref: | WO123456 |  |  | Vendor Name | ABC Plumbing
Work Description: | Gas Heater Maintenance |  |  | Work Service Type | RM
Site | Woodvale SHS |  |  | Date (yyyy-mm-dd) | 2024-06-15
File Name: | WO123456_Gas Heater Maintenance_Woodvale SHS_ABC Plumbing_RM Data Capture_2024-06-15
ASSET DETAILS
#Ref (see Instructions tab) | PFM Asset Barcode# (see Instructions tab) | Provide as much detail as possible i.e. Fan Coil Unit - Wall Mounted, Chilled Water Pump, Undersink Chilled/Hot Water Unit | Enter the name of the area served by the Asset. (see Instructions tab) | Asset Location |  |  |  | Client Asset Number (see Instructions tab) | Manufacturer Name | Model Number | Serial Number | Asset Quantity applies to Grouped Assets Only | Capacity (see Instructions tab) | Capacity Unit of Measure (see Instructions tab) | Use the sheet 'RM Ref#' (column B) to identify the 'Parent' asset e.g. RM 11 (see Instructions tab) | Installation Date (Estimate if unknown) | Asset Status (Update Comments) New Removed Not In Use - Disconnected Not In Use - Connected | 1 - New, less than 1 year old, 2 - Near new, 3 - Fair, 4 - Replace within 2-3yrs, 5 - Replace within 1 year | Enter the image file names (see Instructions tab) | Additional Info required as per Asset Job Plan | Comments (see Instructions tab)
RM Ref# | PFM Asset Barcode# | Asset Description | Area Served | Site | Building | Level | Room | Client Asset Number | Manufacturer | Model Number | Serial Number | Quantity | Capacity | Capacity Unit of Measure | Parent Barcode | Installation Date | Asset Status | Condition Rating | Asset Image Reference Number | Additional Asset Data | Comments
RM 1
RM 2
RM 3
RM 4
RM 5
RM 6
RM 7
RM 8
RM 9
RM 10
RM 11
RM 12
RM 13
RM 14
RM 15
RM 16
RM 17
RM 18
RM 19
RM 20
RM 21
RM 22
RM 23
RM 24
RM 25
RM 26
RM 27
RM 28
RM 29
RM 30
RM 31
RM 32
RM 33
RM 34
RM 35
RM 36
RM 37
RM 38
RM 39
RM 40
RM 41
RM 42
RM 43
RM 44
RM 45
RM 46
RM 47
RM 48
RM 49
RM 50
RM 51
RM 52
RM 53
RM 54
RM 55
RM 56
RM 57
RM 58
RM 59
RM 60
RM 61
Note on C8: Stephen Broom: Copy/Paste this pre populated cell to use as naming

## LVM Asset Data NEW
LOW VALUE MAINTENANCE ASSET DATA CAPTURE TEMPLATE
WO# Ref: | WA1234567 |  |  |  | Vendor Name | ABC Plumbing
Work Description: | Gas Heater Replacement |  |  |  | Work Service Type | LVM
Site | Perth Concert Hall |  |  |  | Date (yyyy-mm-dd) | 2024-06-15
File Name: | WA1234567_Gas Heater Replacement_Perth Concert Hall_ABC Plumbing_LVM Data Capture_2024-06-15
NEW ASSET DETAILS
NEW Ref# (see Instructions tab) | PFM Asset Barcode# (see Instructions tab) | Use the DISPOSE Ref# from 'Asset Data DISPOSE' tab ie.g. DIS 7 (see Instructions tab) | Provide as much detail as possible i.e. Fan Coil Unit - Wall Mounted, Chilled Water Pump, Undersink Chilled/Hot Water Unit | Enter the name of the area served by the Asset. (see Instructions tab) | Asset Location |  |  |  | Client Asset Number (see Instructions tab) | Manufacturer Name | Model Number | Serial Number | Asset Quantity applies to Grouped Assets Only | Quantity UOM - Ea, M, Kg, SQM | Capacity (see Instructions tab) | Capacity Unit of Measure (see Instructions tab) | Use the sheet 'LVM Ref#' to identify the 'Parent' asset e.g. LVM 11 (see Instructions tab) | Installation Date | The date at which the warranty starts (see Instructions tab) | The period in months that the warranty is valid for (see Instructions tab) | Retail price for the asset (see Instructions tab) | Total cost to install the asset. (see Instructions tab) | Enter the image file names (see Instructions tab) | Additional Info required as per Asset Job Plan | Comments (see Instructions tab)
LVM Ref# | PFM Asset Barcode# | DISPOSE Ref# | Asset Description | Area Served | Site | Building | Level | Room | Client Asset Number | Manufacturer | Model Number | Serial Number | Quantity | Quantity Unit of Measure | Capacity | Capacity Unit of Measure | Parent Ref# | Installation Date | Warranty Start Date | Warranty Period (mths) | Purchase Price (AUD ex GST) | Install Price (AUD ex GST) | Asset Image Reference Number | Additional Asset Data | Comments
LVM 1
LVM 2
LVM 3
LVM 4
LVM 5
LVM 6
LVM 7
LVM 8
LVM 9
LVM 10
LVM 11
LVM 12
LVM 13
LVM 14
LVM 15
LVM 16
LVM 17
LVM 18
LVM 19
LVM 20
LVM 21
LVM 22
LVM 23
LVM 24
LVM 25
LVM 26
LVM 27
LVM 28
LVM 29
LVM 30
LVM 31
LVM 32
LVM 33
LVM 34
LVM 35
LVM 36
LVM 37
LVM 38
LVM 39
LVM 40
LVM 41
LVM 42
LVM 43
LVM 44
LVM 45
LVM 46
LVM 47
LVM 48
LVM 49
LVM 50
LVM 51
LVM 52
LVM 53
LVM 54
LVM 55
LVM 56
LVM 57
LVM 58
LVM 59
LVM 60
LVM 61
Note on C8: Stephen Broom: Copy/Paste this pre populated cell to use as naming

## CAP_Asset_Data_NEW
CAPITAL REPLACEMENT ASSET DATA CAPTURE TEMPLATE
WO# Ref: | WA1234567 |  |  |  | Vendor Name | ABC Plumbing
Work Description: | Gas Heater New Install |  |  |  | Work Service Type | CAP
Site | Perth Concert Hall |  |  |  | Date (yyyy-mm-dd) | 2024-06-15
File Name: | WA1234567_Gas Heater New Install_Perth Concert Hall_ABC Plumbing_CAP Data Capture_2024-06-15
NEW ASSET DETAILS
New Install Ref# (see Instructions tab) | PFM Asset Barcode# (see Instructions tab) | Use the DISPOSE Ref# from 'Asset Data DISPOSE' tab. (see Instructions tab) | Provide as much detail as possible i.e. Fan Coil Unit - Wall Mounted, Chilled Water Pump, Undersink Chilled/Hot Water Unit | Enter the name of the area served by the Asset. (see Instructions tab) | Asset Location |  |  |  | Client Asset Number (see Instructions tab) | Manufacturer Name | Model Number | Serial Number | Asset Quantity applies to Grouped Assets Only | Quantity UOM - Ea, M, Kg, SQM | Capacity (see Instructions tab) | Capacity Unit of Measure (see Instructions tab) | (1=New; 2=Very Good; 3=Serviceable; 4=Fair; 5=End-of-Life) | Use the sheet 'CAP Ref#' to identify the 'Parent' asset e.g. CAP 11 (see Instructions tab) | Installation Date | Commissioned date | Design Life (years) | The date at which the warranty starts (see Instructions tab) | The period in months that the warranty is valid (see Instructions tab) | Defect liability period start date | Defect liability period end date | Supplier Name and Address | Purchase price (AUD) | Purchase date (DD/MM/YY) | Total cost to install the asset (see Instructions tab). | D/W/M/Y/Q [D=Daily; W=Weekly; M=Monthly; Y=Yearly; Q=Quartly; F=Fortnightly] | Applicable statutory inspection/maintenance/safety/plant registration certificates supplied? (e.g. Australian Standards) | Enter the image file names (see Instructions tab). | Additional Asset Info as detailed on the PFM Job Plan (see Instructions tab). | Comments (see Instructions tab)
CAP Ref# | PFM Asset Barcode# | DISPOSE Ref# | Asset Description | Area Served | Site | Building | Level | Room | Client Asset Number | Manufacturer | Model Number | Serial Number | Quantity | Quantity Unit of Measure | Capacity | Capacity Unit of Measure | Condition Rating | Parent Ref# | Installation Date | Commissioned date | Design Life (years) | Warranty Start Date | Warranty Period (mths) | Defect Liability Start Date | Defect Liability End Date | Supplier name and address | Purchase Price (AUD ex GST) | Purchase Date | Install Price (AUD ex GST) | Recommended maintenance frequency | Applicable statutory inspection/maintenance/safety requirements | Asset Image Reference Number | Additional Asset Data | Comments
CAP 1
CAP 2
CAP 3
CAP 4
CAP 5
CAP 6
CAP 7
CAP 8
CAP 9
CAP 10
CAP 11
CAP 12
CAP 13
CAP 14
CAP 15
CAP 16
CAP 17
CAP 18
CAP 19
CAP 20
CAP 21
CAP 22
CAP 23
CAP 24
CAP 25
CAP 26
CAP 27
CAP 28
CAP 29
CAP 30
CAP 31
CAP 32
CAP 33
CAP 34
CAP 35
CAP 36
CAP 37
CAP 38
CAP 39
CAP 40
CAP 41
CAP 42
CAP 43
CAP 44
CAP 45
CAP 46
CAP 47
CAP 48
CAP 49
CAP 50
CAP 51
CAP 52
CAP 53
CAP 54
CAP 55
CAP 56
CAP 57
CAP 58
CAP 59
CAP 60
CAP 61
Note on C8: Stephen Broom: Copy/Paste this pre populated cell to use as naming

## Asset Data DISPOSE
DISPOSED ASSET DATA CAPTURE TEMPLATE
WO# Ref: | WA1234567 |  |  |  | Vendor Name | ABC Plumbing
Work Description: | Gas Heater Replacement |  |  |  | Work Service Type | CAP
Site | Perth Concert Hall |  |  |  | Date (yyyy-mm-dd) | 2024-06-15
File Name: | WA1234567_Gas Heater Replacement_Perth Concert Hall_ABC Plumbing_CAP Data Capture_2024-06-15
DISPOSED ASSET DETAILS
DISPOSE Ref# (see Instructions tab) | PFM Asset Barcode# (see Instructions tab) | Provide as much detail as possible i.e. Fan Coil Unit - Wall Mounted, Chilled Water Pump, Undersink Chilled/Hot Water Unit | Asset Location |  |  |  | Client asset number (see Instructions tab) | Use the 'DISPOSE Ref#' to identify the 'Parent' asset (see Instructions tab) | Date asset was removed | Reason asset is being removed (see Instructions tab) | Comments (see Instructions tab)
DISPOSE Ref# | PFM Asset Barcode# | Asset Description | Site | Building | Level | Room | Client Asset Number | Parent Ref# | De-commissioned Date | De-commission Reason | Comments
DIS 1
DIS 2
DIS 3
DIS 4
DIS 5
DIS 6
DIS 7
DIS 8
DIS 9
DIS 10
DIS 11
DIS 12
DIS 13
DIS 14
DIS 15
DIS 16
DIS 17
DIS 18
DIS 19
DIS 20
DIS 21
DIS 22
DIS 23
DIS 24
DIS 25
DIS 26
DIS 27
DIS 28
DIS 29
DIS 30
DIS 31
DIS 32
DIS 33
DIS 34
DIS 35
DIS 36
DIS 37
DIS 38
DIS 39
DIS 40
DIS 41
DIS 42
DIS 43
DIS 44
DIS 45
DIS 46
DIS 47
DIS 48
DIS 49
DIS 50
DIS 51
DIS 52
DIS 53
DIS 54
DIS 55
DIS 56
DIS 57
DIS 58
DIS 59
DIS 60
DIS 61
DIS 62
DIS 63
DIS 64
DIS 65
DIS 66
DIS 67
DIS 68
DIS 69
DIS 70
DIS 71
DIS 72
DIS 73
DIS 74
DIS 75
DIS 76
DIS 77
DIS 78
DIS 79
DIS 80
DIS 81
DIS 82
DIS 83
DIS 84
DIS 85
DIS 86
DIS 87
DIS 88
DIS 89
DIS 90
DIS 91
DIS 92
DIS 93
DIS 94
DIS 95
DIS 96
DIS 97
DIS 98
DIS 99
DIS 100
Note on C8: Stephen Broom: Copy/Paste this pre populated cell to use as naming